FIRE – Forest Lodge

| Hazard | At Risk | Control Measures | Severity | Likelihood | Rating | Further Action |
| --- | --- | --- | --- | --- | --- | --- |
| Fire during the night | All | - A sensitive smoke alarm is fitted to alert residents in case of a fire developing during the night and allowing prompt evacuation before it escalates too far | 2 | 1 | 2 | Adequately Controlled |
| Gas Leak/fault | All | - Gas cooker has flame failure devices fitted and the building has an annual Gas Safe inspection by an independent qualified person - Other than existing appliances, no other form of gas or electric cooking allowed indoors | 2 | 1 | 2 | Adequately Controlled |
| Wood burning stove overheating | All | - Stove is designed to hold a small amount of fuel and overloading would be difficult and the heat intolerable. - Temperature in Forest Lodge is remotely monitored via the NEST thermostat | 2 | 1 | 2 | Adequately Controlled |
| Electrical fault | All | - Installation completed by qualified electrician and building is included in regular electrical installation testing | 2 | 1 | 2 | Adequately Controlled |
| Fire from cigarettes | All | - Smoking is forbidden on-site indoors and outside other than the designated smoking shelter | 1 | 1 | 1 | Adequately Controlled |
| Fire from electrical heaters | All | - Bedroom heaters are fixed to the walls to prevent moving too close to sources of ignition. - Smoke detector would provide early indication of a fire to allow prompt evacuation | 2 | 1 | 1 | Adequately Controlled |
| Fire from external fire pit or fire barrel | All | - Fires are not allowed in close proximity to the building. Staff keep an eye out for this and advise groups accordingly | 1 | 1 | 1 | Adequately Controlled |
| Evacuation from upstairs loft | All | - Steep stairs means no people upstairs with reduced mobility. - Sensitive smoke alarm gives immediate warning of any likelihood of fire and plenty of time to evacuate in case of emergency | 2 | 2 | 4 | Adequately Controlled |