Ref SN.6/XXXXX    Issue Date: January 2024

FIRE – Service Team Accommodation

| Hazard | At Risk | Control Measures | Severity | Likelihood | Rating | Further Action |
| --- | --- | --- | --- | --- | --- | --- |
| Fire during the night | All | - Smoke alarms are fitted to all cabins to alert residents in case of a fire developing during the night and allowing prompt evacuation before it escalates too far | 2 | 1 | 2 | Adequately Controlled |
| Electrical fault | All | - Installation completed by qualified electrician and building is included in regular electrical installation testing | 2 | 1 | 2 | Adequately Controlled |
| Fire from cigarettes | All | - Smoking is forbidden on-site indoors and outside other than the designated smoking shelter | 1 | 1 | 1 | Adequately Controlled |
| Fire from electrical heaters | All | - All heaters are fixed to the walls to prevent moving too close to sources of ignition. - Smoke detector would provide early indication of a fire to allow prompt evacuation | 2 | 1 | 1 | Adequately Controlled |
| Fire from external fire pit or fire barrel | All | - Fires are not allowed in close proximity to the buildings. Staff keep an eye out for this and advise groups accordingly | 1 | 1 | 1 | Adequately Controlled |
| Obstruction | All | - Building to be kept clear of equipment or resources and not used for storage (Other than temporary COSHH Store) | 2 | 2 | 4 | Adequately Controlled |